## Slide 1
Control Flowchart
Gesture Recognition
User Interface
HeadWay – Augmented Communication Device
Roberto Pereira, Seth Stewart, Jarius Tillman, Sarvagya Vaish and Dr. Koblasz Georgia Institute of Technology, Atlanta GA
Objectives
Prototype system to enable patients with spinal cord injury and limited hand mobility, to interface with a computer.
Translate head pitch and yaw movements to computer cursor displacement
Integrate all components into a small wearable lightweight device
Software
Hardware
Experiments and Results
Inertial Measurement Unit
Arduino
Bluetooth Transceiver
Battery
Bite Switch
Start Gesture Training
Adjust Device Sensitivity
Message Panel
Recalibrate Device
Starting up…
Principal Component Analysis (PCA)
data representing the gesture
Compare movement to gesture data at every time step.
Dr. John Anschutz, manager of the Assistive Technology Program at Shepherd Center using the HeadWay device.
The device was tested on a browser version of the game Solitaire.
Contact Information: Sarvagya Vaish, sarvagyavaish@gatech.edu, (404) 654 3664